## Sheet1
 | reverse order submitted | Name: | Lab Partner: | Lab Time: | "A" section or "B" section?: | Lab Station Number where you worked: | Rotameter reading cold-water flow (R%) | steam valve setting, % open, for SV06 (give answer in 8ths, e.g. 5.5/8 is 5.5 out of 8) | air pressure on regulator controlling pneumatic steam valve SV06 (psig) | water inlet temperature (oC) | water outlet temperature (oC) | condensing steam temperature (oC) | condensing steam gauge pressure (either inches Hg vacuum or psig, please indicate) | average steam flow rate (grams/s) | calculated overall heat xfer coeff U (W/m^2 K) | Rotameter reading cold-water flow (R%) | steam valve setting, % open, for SV06 (give answer in 8ths, e.g. 5.5/8 is 5.5 out of 8) | air pressure on regulator controlling pneumatic steam valve SV06 (psig) | water inlet temperature (oC) | water outlet temperature (oC) | condensing steam temperature (oC) | condensing steam gauge pressure (either inches Hg vacuum or psig, please indicate) | average steam flow rate (grams/s) | calculated overall heat xfer coeff U (W/m^2 K) | Open-Ended Response
| 59 | Jacqueline Harms | Peter Jurica | 9 | A | 1 | 31 | 2008-07-05 | 15.7 | 15 | 40 | 110 | 0.5 mmHg | 4.61 | 70.1 | 31 | 2013-08-08 | 17 | 14 | 44 | 105 | 2.2 psig | 5.01 | 79.7
| 39 | Luke Zoromski | Nathan LaJoye | 1 | B | 1 | 32.5 | 2008-06-05 | 13.9 | 13 | 29 | 96 | -1.5 inches Hg | 3.5 | 2274 | 32.5 | 5.5 | 11.2 | 13 | 21 | 94 | -3 Inches Hg | 1.4 | 1144
| 9 | Robert LeBrell | Adam Calverly | 2013-11-20 09:00 | B | 1 | 32 | 2013-07-08 | 15 | 14.3 | 33 | 95 | 3 inHg | 3.85 |  | 32 | 2013-06-08 | 13.5 | 13.6 | 25 | 95 | 3inHg | 2.53
| 13 | Courtney Castelic | Tianzhi Pang | 300 | A | 2 | 32 | 7.5 | 14 | 14 | 36 | 97 | 3 | 4.99 |  | 32 | 7 | 13 | 14 | 31 | 97 | 3.1 | 3.78
| 28 | Michael Faucett |  | 1:00 p.m. | B | 2 | 30 | 2008-06-05 | 11 | 13 | 21.8 | 96 | -3.0 in Hg | 1.417 | 2015.5 | 30 | 2013-08-08 | 14 | 13 | 33.2 | 98 | -.7 in Hg | 4.03 | 5511.2
| 3 | Tyler Middlebrook | Elizabeth Vaught | 1 | A | 2 | 38 | 7.5 out of 8 | 14 | 14 | 32 | 98 | 0 | 4.425 |  | 38 | 6.5 out of 8 | 13.5 | 13 | 26 | 96 | 1 hg | 2.65 |  | Condensing Steam gauge pressure not correct will change soon
| 56 | Zane Kluesing | Cameron Hempel | 2013-11-20 09:00 | A | 2 | 28 | 2008-05-05 | 10 | 15 | 19.8 | 93.5 | 0.1 | 2.7 | 600 | 28 | 2013-08-08 | 15 | 15 | 45 | 104.3 | 2.5 | 4.9 | 3600 | xfer coes were close together but not identical the values submitted are averages
| 25 | Eliot Nagler | Daniel LaForest | 2013-11-20 13:00 | B | 3 | 31.7 | 2008-06-05 | 12.2 | 13.8 | 27.1 | 100 | 0 | 2.33 | 1839 | 31.7 | 2008-05-05 | 11.3 | 13.9 | 21 | 96 | -3.25 psig | 1.21 | 982
| 27 | Kyle Bronner | Julie Lafond | 1 | A | 3 | 28.4 | 2008-07-05 | 13 | 14.3 | 33.4 | 100.1 | 0 | 2.86 | 2003 | 28.7 | 2008-06-05 | 11 | 14.2 | 21.8 | 96 | 0 | 1.2 | 801.3
| 32 | Ryan Patrick | Sean LeRolland-Wagner | 2013-11-20 09:00 | B | 3 | 29 | 2013-07-08 | 13 | 14.6 | 31 | 99 | 0 psig | 2.69 | 4574 | 29 | 2013-06-08 | 11.3 | 14.2 | 23 | 95 | 3.5 inches Hg | 1.44 | 2444
| 42 | Shawn Shove | Dylan Koons | 9:05 to 10:55 | A | 3 | 31.4 | 2008-07-05 | 14.1 | 15 | 24 | 97 | 0.1 mm Hg | 4.64 | 1173.3 | 31.4 | 2013-08-08 | 16 | 13 | 40 | 98 | 0.2 mm Hg | 3.76 | 769.3
| 52 | Cassandra Bobart | Rachel Belinger | 2013-11-20 13:00 | A | 4 | 27.5 | 2008-07-05 | 13 | 13 | 31 | 98.1 | .5 inches Hg | 0.0027 | 2254 | 27.5 | 2013-07-08 | 10.8 | 13 | 26 | 95.3 | 3.0 inHg | 0.0017 | 1542
| 12 | Christian Dale | Courtney Castelic | 2013-11-20 15:00 | A | 4 | 29 | 2013-07-08 | 14 | 14 | 38.4 | 100 | .25inHg | 3.62 | 0 | 29 | 2013-06-08 | 12.7 | 14 | 30 | 99 | 1.1inHg | 2.31 | 0
| 5 | Erik Leslie resubmit | Zach Peterson resubmit | 2013-11-20 09:00 | B | 4 | 30.5 | 2008-06-05 | 11 | 14.6 | 23 | 98 | 0 | 1.29 | 804 | 30.5 | 2013-08-08 | 15.7 | 13.7 | 45 | 104 | 3 psig | 5.13 | 3311 | resubmission using correct area
| 19 | Jonathan Iafrate | Michael Grillo | 2013-11-20 12:00 | A | 4 | 30 | 5.5 out of 8 | 9.9 | 15.1 | 19 | 94 | 0.25 psig | 0.79 | 481.6 | 30 | 8 out of 8 | 15.1 | 14.7 | 43 | 101 | 1.5 psig | 0.0056 | 3679.41
| 48 | Ben Closner | Liz Waters | 2013-11-20 13:00 | B | 5 | 32 | 5.5 | 12.25 | 13.2 | 25.2 | 99.8 | 1.25psig | 1.84 | 1410 | 32 | 6.5 | 14 | 13.3 | 31 | 99.6 | 0psi | 2.71 | 2170
| 49 | John Keefe | Austin VanSteenburgh | 2013-11-20 09:05 | B | 5 | 32 | 2013-07-08 | 14.3 | 13 | 35 | 97 | 2 in Hg vacuum | 3.263 | 2850 | 32 | 2013-06-08 | 13 | 12 | 26 | 100 | 0 | 1.958 | 1912
| 37 | John Keefe resubmit | Austin VanSteenburgh | 2013-11-20 09:05 | B | 5 | 32 | 2013-07-08 | 14.3 | 13 | 35 | 97 | 2 in Hg vacuum | 3.263 | 3188 | 32 | 2013-06-08 | 13 | 12 | 26 | 100 | 0 psig | 1.958 | 1912
| 30 | Tyler Jensen | Thomas Weston | 9-11 am | A | 5 | 31 | 13/16 | 14 | 15 | 31 | 100 | .1 psig | 2.704 | 2097 | 32 | 2013-08-08 | 16 | 14 | 40 | 99.5 | 1.5 in Hg vacuum | 4.71 | 3940 | For our first setting, the average flow rate is incorrect because the bucket that we used was leaking (lead to bad average flow rate). The flow rate started at 15/16, but ended at 13/16 indicating that the information collected for setting one is going to be an outlier/ should be removed from the total data set.
| 11 | Weston Hood | Colin Hoekje | 1 | A | 5 | 34 | 2013-06-08 | 11.4 | 14 | 26 | 98 | 0 | 2.17 | 0 | 34 | 2008-05-05 | 12.1 | 13 | 23 | 97 | 0 | 1.74 | 0
| 8 | Benjamin Veenstra | Evan Yuhala | 9:05-10:55 Tuesday | A | 6 | 34 | 8/8ths | 15 | 14.4 | 38 | 101.1 | 0.5 inHg | 4.25 | 2600 | 34 | 2013-06-08 | 12 | 13.8 | 23.2 | 99.7 | 2.0 inHg | 1.57 | 1070
| 47 | Christine Scharphorn | Victor Claremboux | 1pm-3pm | B | 6 | 31 | 2013-05-08 | 10.5 | 12 | 21.3 | 97.6 | 0.0psig | 0.865 | 672.12 | 31 | 2013-07-08 | 13.8 | 12 | 31.9 | 98 | 0.0psig | 2.84 | 2361.45 | U is for the steam side of the heat exchanger.
| 17 | Eric Simon | Nathan LaBarge | 2013-11-20 09:00 | B | 6 | 34 | 6.5 out of 8 | 11.9 | 14.3 | 27.1 | 98.5 | 0 | 2.06 | 1418 | 34 | 7.5 out of 8 | 13.9 | 13.4 | 32.3 | 99.9 | 0 | 3.21
| 44 | Shannon Ennis | Alex Tetzloff | 2013-11-20 15:00 | A | 6 | 32 | 2013-07-08 | 13 | 13.8 | 32.2 | 98.5 | 0.2 psig | 3.1 | 556.5 | 32 | 2013-08-08 | 15 | 13.6 | 42.4 | 102.4 | 3.5 psig | 4.82 | 895
| 6 | Ted Kruse | Nate Ganhs | 1 | A | 6 | 32 | 2008-07-05 | 13.9 | 13.4 | 33.6 | 98.9 | 1 | 3.4 |  | 32 | 2008-05-05 | 11.4 | 13.2 | 22 | 96.2 | 0 | 1.3
| 20 | Eric Pearson | John Wenzel | 9 | A | 7 | 30 | 2013-08-08 | 15 | 15 | 46 | 109 | 5.5 | 5.5 | 3320 | 30 | 2008-07-05 | 14.3 | 15 | 42 | 102 | 3 mmHg | 4.36 | 2790 | First pressure on condensing steam is in psi, forgot to indicate.
| 2 | Johnathan Wenzel | Eric Pearson | 2013-11-20 09:00 | A | 7 | 32 | 2013-08-08 | 15 | 15 | 47 | 109 | 5.5 psig | 5.5 | 3380 | 32 | 2008-07-05 | 14.3 | 15 | 42 | 102 | -3 inches Hg | 4.36 | 3020
| 4 | Justin Levande | Michael D'Angelo | 2013-11-20 13:00 | B | 7 | 31.5 | 2008-05-05 | 10.6 | 13 | 26.5 | 100 | 0 | 2.06 | 1824.8 (water), 1590.8 (steam) | 31.5 | 2008-06-05 | 13 | 13 | 31.8 | 100 | 0 | 3.24 | 2636.6 (water), 2596.0 (steam)
| 10 | Megan Williams Resubmit | Joshua Shumaker | 2013-11-20 09:00 | B | 7 | 31 | 6 out of 8 | 12.75 | 14.9 | 37 | 101 | 0 | 3.96 |  | 31 | 7 out of 8 | 11.4 | 14.1 | 30 | 98 | 3 in Hg vacuum | 2.63
| 14 | Alex Powell | Andy Kenney | 2013-09-11 | A | 8 | 32 | 8 out of | 14.8 | 14 | 42 | 108 | 4.3 in Hg | 4.7 |  | 32 | 6 out of 8 | 11.8 | 14 | 25 | 97 | 4 in Hg | 1.62 | 0
| 22 | Andrew Gorectke | Jesse Johnson | 2013-11-20 15:00 | A | 8 | 31 | 7 | 12.4 | 13.2 | 34 | 100 | 1 inch Hg vacuum | 3.303 | 1075 | 31 | 8 | 16 | 13.2 | 45 | 109 | 4 psig | 5.32 | 1653
| 58 | Julie Tomasi | Zach Demro | 2013-11-20 13:00 | A | 8 | 31.3 | 2008-07-05 | 14.1 | 14.4 | 36 | 100 | -0.9 in Hg | 3.91 | 2440 steam, 2350 water | 31.3 | 2008-05-05 | 10.1 | 14.2 | 24 | 99 | -3.8 in Hg | 1.92 | 1120 steam, 994 water | We reported both heat transfer coefficients we calculated from the steam side and the water side, because I wasn't sure which one was more important in this case.
| 29 | Nolan Seelye | Melissa VanLaanen | 2013-11-20 09:00 | B | 8 | 28.5 | 2008-06-05 | 12.2 | 14 | 31.6 | 98 | -0.5 inches Hg | 2.52 | 1160 | 28.5 | 2008-07-05 | 14.8 | 13 | 40.6 | 102 | -0.2 inches Hg | 4.11 | 1870
| 23 | Olivia Munoz | Rebecca Villerot | 2013-11-20 13:00 | B | 8 | 31.7 | 6 | 11 | 12 | 25 | 100 | 0 | 1.85 | 1570.5 | 31.7 | 7 | 14 | 12 | 32 | 100 | 0 | 3.26 | 2694.8
| 18 | David Hutchison | Madison Mehlhose | 9 | A | 9 | 31.4 | 2013-08-08 | 13.5 | 14 | 42 | 100 | -2.0 in. Hg | 4.91 |  | 31.4 | 2008-07-05 | 12.8 | 14 | 34 | 98 | -4.5 in Hg | 3.52
| 53 | Matt Pirkola | Will Goeman | 2013-11-20 13:00 | A | 9 | 31 | 7.5 | 12.7 | 19 | 34 | 99 | -4 | 3.594 | 807.64 | 31 | 6.5 | 11.4 | 18 | 28 | 96 | -6 | 2.5488 | 572.26
| 16 | Ryan McInnis | Aaron Steeg | 2013-11-20 13:00 | B | 9 | 29 | 2008-06-05 | 11.5 | 13 | 27.7 | 98 | 1.5 inches Hg | 2.5 |  | 29 | 2008-05-05 | 10.1 | 13 | 21.2 | 93 | 5.5 inches Hg | 1.4
| 34 | Tyler Blowers | Joe Smith | 2013-11-20 09:00 | B | 9 | 31 | 2013-07-08 | 12 | 16.6 | 34.1 | 97.5 | -3 in Hg | 2.84 | 2543 (H2O) 1874.2 (Steam) | 31 | 2013-06-08 | 9.5 | 16.1 | 20.8 | 92.1 | -5 in Hg | 1.14 | 649 (H2O) 712 (Steam)
| 21 | Hannah Schnack | Ryan Carli | 2013-11-20 01:00 | B | 10 | 32.1 | 6.5 out of 8 | 14.1 | 14 | 29.8 | 95.5 | -8 inches Hg vacuum | 2.76 | 0 | 32.1 | 8 out of 8 | 15.25 | 14 | 44.6 | 99.1 | -4 inches Hg vacuum | 5.45 | 0
| 50 | Henri Falck | Matthew Cole | 2013-11-20 15:00 | A | 10 | 32 | 2008-07-05 | 14.5 | 13 | 38 | 98 | 3.5 inches Hg vacuum | 4.43 | 3271 | 32 | 2013-07-08 | 13 | 13 | 29 | 98 | 5 inches Hg vacuum | 2.81 | 1958
| 55 | Lindsey Thiel | Drew Payton | 2013-11-20 13:00 | A | 10 | 32.15 | 2013-08-08 | 15.8 | 13.2 | 47.3 | 98.7 | -3.0 Hg vacuum | 5.77 | 788 (steam) 947 (water) | 32.15 | 2008-05-05 | 12.2 | 13 | 26.1 | 95.3 | -7.2 Hg vacuum | 1.94 | 302 (steam) 355 (water) | Usteam and Uwater were both very low compared to the other groups, but we could not find any errors in our calculations.
| 40 | Noelle Savage | Dylaina Fiebing | 2013-11-20 09:00 | B | 10 | 31.2 | 2013-07-08 | 14.5 | 14 | 40.2 | 98.9 | -2.6 in Hg | 4.2 | 3193 | 31.2 | 2013-06-08 | 13.2 | 14 | 31.7 | 96.6 | -5.8 in Hg | 2.7 | 2049